Certificate of Analysis

Tris Base ACS

Catalog Number:		TB1011

Lot Number:			Typical-020

CAS Number:			77-86-1

Molecular Formula:		C4H11NO3

Molecular Weight:		121.14

Storage:			15oC – 30oC

Date of Manufacture:	May 28, 2016

Retest Date:			May 27, 2022

| Test | Specification | Result |
| --- | --- | --- |
| Appearance (ACS) | White crystalline material | Conforms |
| Assay (Titration, ACS) | 99.8 – 100.1% | 99.92% |
| Identification (FTIR, ACS) | To match spectra | Conforms |
| Melting Point | 168.0oC – 172.0oC | 171.2oC – 171.8oC |
| Solubility (1M) | Clear | Conforms |
| Absorbance (c=40%) 290nm, ACS 400nm | ≤ 0.2 ≤ 0.2 | 0.038 0.009 |
| pH (5%) | 10.0 -11.5 | 10.86 |
| Moisture (KF, ACS) | ≤ 2.0% | 0.1% |
| Insoluble Matter (c=10, ACS) | ≤ 0.005% | 0.001% |
| Residue on Ignition | ≤ 0.05% | 0.00% |
| Chloride | ≤ 3ppm | < 3ppm |
| Heavy Metals (as Pb, ACS) | ≤ 5ppm | < 5ppm |
| Iron (Fe, ACS) | ≤ 5ppm | < 5ppm |

Approved by:								Date: January 5, 2017

John Grubb, PhD

Gojira Fine Chemicals, LLC

Quality Manager

Tel: 440-539-7033 Fax: 888-211-5523

john@gojirafc.com